Sensors:

Ts sensor –

Tinf sensor -  and

q" sensor -  heat flux sensor, and with it:

o FluxTeq FluxDAQ Heat Flux Sensor and Thermocouple Measurement System

o

Other:

Hea

DC power supply – to power heat source/hot plate

Duct seal putty – to enclose holes (wiring/temp sensors)

Arduino Uno + Breadboard

Cardboard- (outer layer, middle layer, base layer) to provide structure and insulation

Cotton- (

Tinfoil

| Sensors |  |  |  |
| --- | --- | --- | --- |
| Used for | Model | Additional components | Notes |
| Tinf | Platinum RTD Sensor (PT100) | amplifier board (MAX31865) |  |
| Ts | Option 2: OKK30B10A Peel and Stick Sensor, Type-K | Unsure? Check? |  |
| q'’ | FluxTeq PHFS-01 | - FluxTeq FluxDAQ - Computer with FluxDAQ program to acquire data |  |
| Heat Source |  |  |  |
| Hot plate | (Whatever was used in 1041) |  |  |
| Misc |  |  |  |
| Item | Used for |  |  |
| Duct seal putty | Seal holes/gaps from wiring/temp sensors/etc. |  |  |
| Breadboard | To wire temp sensors/amplifiers/arduino |  |  |
| Al foil/tin foil | Reflect heat radiation towards inside of box |  |  |
| Temperature sensor calibrator | Make: Transmation Model: 1064P Location: Cabinet #1 |  |  |
| Styrofoam (potentail cardboard shell?) | Box material (low thermal conductivity – esp. Styro) |  |  |